[image: image1.png][SIEIS it EST











CORR234

The Manager

Karratha Coatings

P.O. Box 1084

KARRATHA WA 6714

Attention: Mr. Terry Ross

Temperature Testing 19/9/90 – 26/9/90

Residence – 386 Turner Way - Karratha -
KW readings 21 – 26/9/90
130 units

Residence – 44 Padbury Way - Karratha - 
KW readings 21 – 26/9/90
  51 units







(saved)
Difference 
  79 units

As requested temperature recording instruments were placed in the above dwellings to record the temperature variations that occurred within the ceiling spaces over a period of a week.

In each case a recorder was placed in the ceiling space near the manhole access panel basically in the same location at each house. Following a calibration check of the instruments, the access panels were then replaced.

Appended are the recorded results, along with a performance graph indicating a comparison of the temperature variations recorded in each space, with bars indicating the corresponding maximum and minimum ambient temperatures. 

In addition the units of electrical power consumed by each air-conditioning system over the same period was recorded and is also displayed on the graph.

The test results over the test period show considerably lower ceiling space temperatures and air-conditioning power consumption for Padbury residence under similar ambient conditions for both residence.

[image: image2.png]


Should you require any further information, please make contact.

Yours sincerely A.E.Smith /  Westair

[image: image3.png]



TEMPERATURE READINGS

AT KARRATHA RESIDENCES WA

BY A.E.SMITH – WESTAIR

(  19/09/90  –  21/09/90   (       ( 24/09/90  – 26/09/90(

[image: image4.wmf]Temperature readings in ceiling space

15

20

25

30

35

40

45

19th

20th

21st

24th

25th

26th

date / time

Temperature (C)

NON COATED

INSULTEC


_1097055402.xls
Chart1

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400		400

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400		400

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		CHANGE		CHANGE

		400		400

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400		400

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400		400

		800		800

		1200		1200



NON COATED

INSULTEC

Time

Temperature (C)

40

27

35

27

27

24

23

24

18

23

25

25

40

30

38

32

27

27

22

26

22

24

18

24

36

28

38

30

27

27

24

26

20

20

25

20

35

27

37

30

30

27

24

27

23

26

24

25

34

32

45

32

35

26

26

26

22

25

22

24

37

29



Chart2

		1200
19th		1200
19th

		1600		1600

		2000		2000

		2400		2400

		400
20th		400
20th

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400
21st		400
21st

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400
24th		400
24th

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400
25th		400
25th

		800		800

		1200		1200

		1600		1600

		2000		2000

		2400		2400

		400
26th		400
26th

		800		800

		1200		1200



NON COATED

INSULTEC

date / time

Temperature (C)

Temperature readings in ceiling space

40

27

35

27

27

24

23

24

18

23

25

25

40

30

38

32

27

27

22

26

22

24

18

24

36

28

38

30

27

27

24

26

20

20

25

20

35

27

37

30

30

27

24

27

23

26

24

25

34

32

45

32

35

26

26

26

22

25

22

24

37

29



Sheet1

				19th								20th												21st														24th												25th												26th

				1200		1600		2000		2400		400		800		1200		1600		2000		2400		400		800		1200		1600		2000		2400				400		800		1200		1600		2000		2400		400		800		1200		1600		2000		2400		400		800		1200

		NON COATED		40		35		27		23		18		25		40		38		27		22		22		18		36		38		27		24				20		25		35		37		30		24		23		24		34		45		35		26		22		22		37

		INSULTEC		27		27		24		24		23		25		30		32		27		26		24		24		28		30		27		26				20		20		27		30		27		27		26		25		32		32		26		26		25		24		29





Sheet2

		





Sheet3

		






