The University of Western Australia

[image: image1.png]



Department of Mechanical Engineering

Xxxxxxxx, Perth, Western Australia

Facsimilie               , telex

Telephone 

SOLAR MATERIALS TESTING LABORATORY

5TH June 1992

Insultec

Unit 3, 502 Marmion St

Booragoon, W.A. 6145

Attention: Mr. Dion Smith

Dear Mr. Smith

Re:
Emissivity and Optical Properties Measurements, Ref 15/92

Emissivity measurements have been carried out on “Insulating Paint”, in accordance with Australian Standard 1903 – 1976 (with 1979 amendments). The result was an emissivity of 0.89. The optical properties results are enclosed.

We will gladly conduct any further testing you may require.

Yours sincerely

[image: image2.png]



Dr. Raffaele Cammarano B.E., Ph.D, Freemantle,W.A., Australia






