
[image: image1.png]Mobil Refining Australia Pty Ltd

e s

it 3 18758
gt



 

7th March 1994

Insultec Australia Pty Ltd

Attn: Mr. Jim Della-Bona

Re: Insultec Paint Trials

As discussed a Refinery Engineer has organized a test of your product on a small surface area leading to a control room air conditioning inlet duct. The surface received the prescribed coating thickness as per your technical advise.

Some of the results to date, indicated a significant surface temperature reduction. During a 320C day the surface temperature of an untreated area was 510C whilst the Insultec treated area had a 330C reading.

Temperature monitoring is continuing with the view of painting the entire ducting to minimize the air conditioning heat load.

The Refinery will be contacting your organisation to recommend a suitable coating for the outside of storage tanks.  

[image: image2.png]\]t(/_‘g\

1 PAPAGEORGIOU
Sar Project Engineer





